## Residential Drainage Calculator
Date: | 2024-08-20
PROJECT INFORMATION
Project Name: | ABC Test Project
City: | Anytown
State / Province: | CT
Country: | USA
Instructions:
Step 1: Enter Area of Impervious Cover in "Drainage Area" Cell
Step 2: Enter Required Depth of Rainfall in "Rainfall Depth" Cell. Use NOAA's National Weather Service Precipitation Frequency Data Server (PFDS) Link to Rainfall Data Map if Required
Step 3: Reference Output Table to Determine Number of Chambers and System Area Required for Each Available Chamber Model
System Input Parameters
Drainage Area | 1000 | ft2
Composite Runoff Coefficient | 1
Rainfall Depth | 3 | in | Lookup Rainfall Data HERE
Storage Required | 250 | ft3
Include Exfiltration | NO
Stone Porosity | 40 | %
Water Level Drop | 2 | #REF!
Time | 15 | minutes
Test Pit Diameter | 4 | inches
Average Depth of Water (Head) | 29 | #REF!
Factor of Safety (FOS) | 2
Soil Infiltration Rate | 0.26667 | #REF!
Typical System Cross-Section Detail
System Output Table
Storage Required | 250 | ft3
Chamber Model | No. of Chambers Required |  |  | Minimum Installed Storage per Unit | Storage Volume Provided | Minimum Required Area
(choose one) | units |  |  | ft3 | ft3 | ft2
Contactor 100HD | 8 |  |  | 32 | 256 | 240
or
Recharger 180HD | 7 |  |  | 40 | 280 | 175
or
Recharger 330XLHD | 3 |  |  | 84 | 252 | 111
>>More information on residential drainage.
Call CULTEC for cost estimates and system design.
Find a CULTEC Rep near you
This calculator program is for estimation purposes only and should not take the place of a comprehensive engineering design.
System calculations do not include materials required conventional pipe manifolds.
The successful application and use of this software product is dependent on the application of skilled engineering judgment supplied by the user and/or their consultant.
The user of this software must select input values suitable to describe their specific engineering situation.
The information presented in the computer output is for review, interpretation, application, and approval by a qualified engineer who must assume full responsibility for verifying that all output is appropriate and correct.
Any implied or expressed warranties covering this software program or user manual including warranties of merchantability or fitness for any particular purpose are expressed excluded.
CULTEC and any of its affiliates shall not be held liable for any special, incidental, consequential, indirect or other similar damages resulting from the use of this software.
Use of this program constitutes acceptance of this liability agreement by the user.
Reconfiguring the bed layout may effect actual storage provided.
Contact CULTEC Technical Services at CT-tech@cultec.com. Or call 1-800-428-5832 or 203-775-4416 for further assistance.
Email Technical Services
Copyright 2024 CULTEC. All rights reserved.

## Infiltration Data (hidden)
Perculation Box
TRUE
English Calculations
|  | 24 Hour Percolation Volume (Vp) | No stone | Sides Only | Typ. Stone | Length | Width | Depth | Area | Volume of Excavation | Volume | Volume w/ Perc
|  | ft3 | ft3 | ft3 | ft3 | [6 empty] | ft3
Contactor 100HD |  | 6.4 | 14 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 1.0417 | #VALUE! | #VALUE! |  | #VALUE!
Recharger 150XLHD |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF!
Recharger 180HD |  | 5.864 | 21.81 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 1.7083 | #VALUE! | #VALUE! |  | #VALUE!
Recharger 280HD |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF!
Recharger 330XLHD |  | 9.8222 | 52.21 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 2.5417 | #VALUE! | #VALUE! |  | #VALUE!
Recharger 360HD |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Recharger 902HD |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF!
#VALUE!
Metric Calculations
|  | Percolation Volume (Vp) | No stone | Sides Only | Typ. Stone |  |  |  |  | Total Percolation Volume
|  | m3 | m3 | m3 | m3 |  |  |  |  | m3
Contactor 100HD |  | 5.44 | 0.39644 | #VALUE! | #REF! |  |  |  |  | #REF!
Recharger 150XLHD |  | #REF! | #REF! | #REF! | #VALUE! |  |  |  |  | #REF!
Recharger 180HD |  | 4.9844 | 0.61759 | #VALUE! | #REF! |  |  |  |  | #REF!
Recharger 280HD |  | #REF! | #REF! | #REF! | #VALUE! |  |  |  |  | #REF!
Recharger 330XLHD |  | 8.3489 | 1.4784 | #VALUE! | #REF! |  |  |  |  | #REF!
Recharger 902HD |  | #REF! | #REF! | #REF! | #REF! |  |  |  |  | #REF!
Percolation Calculations
Sr = Pv/Ap/TIME (24Hrs) |  | D | Diameter | 0.33333
Pv = Ab x h |  | h | Drop dimension | 0.16667
Ap = Ab + Ac |  | Havg | Average Head | 2.4167
Ab = PI x D x D |  | Time | Time | 15
Ac = PI x D x Havg |  | PI | Pi | 3.1416
FOS |  | Factor of Safety | FOS | 2
Sr (per day) w/ FOS | 0.26667
Sr (per day) | 0.53333
Sr (per min) | 0.00037037
Pv | 0.014544
Ap | 2.618
Ab | 0.087267
Ac | 2.5307
It = (▲H 60 r)/(▲t (r+2Havg)
It |  | Soil Infiltration Rate
▲H |  | Change in height over time |  | 2
r |  | Test Hole Radius |  | 2
▲t |  | Time Interval |  | 15
Havg |  | Average Head Height |  | 29
It = Soil Infiltration Rate | 0.26667

## Data (hidden)
| Contactor 100HD | Recharger 180HD | Recharger 330XLHD
| English | English | English
Length | 8 | 7.33 | 8.5
Width | 3 | 3 | 4.3333
Height | 1.0417 | 1.7083 | 2.5417
Storage | 14 | 21.81 | 52.21
Installed Storage | 32 | 40 | 84
Area Required | 30 | 25 | 37
| Metric | Metric | Metric
Length | 2.4384 | 2.2342 | 2.5908
Width | 0.9144 | 0.9144 | 1.3208
Height | 0.3175 | 0.5207 | 0.7747
Storage | 0.39644 | 0.61759 | 1.4784
#NAME?
Specification Table
|  | Contactor 100HD | Recharger 180HD | Recharger 330XLHD
REF | Bare Chamber Volume | 1.87ft3/ft 14.00 ft3/unit 105 gal | 3.45ft3/ft 21.81 ft3/unit 163 gal | 7.46ft3/ft 52.21 ft3/unit 391 gal
A | Stone Border Width (in) | 12 | 12 | 12
B | Chamber Width (in) | 36 | 36 | 52
C | Row Spacing (in) | 6 | 6 | 6
D | Chamber Height (in) | 12 | 20 | 30
E | Effective Depth (in) | 24 | 32 | 42
| Chamber Length (ft) | 8 | 7.33 | 8.5

## X Sections (hidden)
Xsection | Fill Photos
Typical
#REF!